## Sheet1
| Manufacturer | Part # | Amount | Min est. Price | Max est. Price | Wavelength Range (nm)/Specs | Notes
(Collimating) Lens | Edmund Optics | #48-852 | 2 | 182 | 244 | 200 - 2200 | Largest diameter is 25 mm?
Field Stop | Edmund Optics | #32-623 | 1 | 45 | 100 | NA
Quarter Wave Plate | Edmund Optics | #39-024 | 1 | 740 | 740 | 340-560
Transmission Grating | Edmund Optics | #85-291 (290-300 also options) | 1 | 99.5 | 289 | 250-450
Wollaston Prism | Edmund Optics | #68-820 (823) | 1 | 566 | 979 | 200-2300
High Order Birefringent Crystal (Sapphire) | Optical Coating Solutions, Inc. | N/A | 1 | 10000 | Waiting |  | Estimates vary, asking OCS for quote/ low estimate based on SWIRP
| Meadowlark | N/A | 1 | 0 | 20000 | 300 ‐2500 | Off the cuff estimate from Meadowlark
UV Detector | Andor | iXon Ultra 888/897 | 1 | Waiting | Waiting | https://andor.oxinst.com/assets/uploads/products/andor/documents/andor-ixon-ultra-emccd-specifications.pdf | Estimates vary, asking Andor for quote
| Hamamatsu | C9100-13 | 1 | 500 | Waiting |  | Already in house?
| Hamamatsu | C9100-23B | 1 | Waiting | Waiting | https://www.hamamatsu.com/resources/pdf/sys/SCAS0092E_IMAGEMX2s.pdf | Upgrade to above, waiting on quote
|  |  | Total Estimates | 12132.5 | 22352
https://www.pco.de/fileadmin/user_upload/pco-product_sheets/pco.ultraviolet_data_sheet.pdf